## Slide 1: Video Processor Queries 04/04/2013

## Slide 2: Point 4 Closed Loop Gain
GBP is 10 MHz, is it alright or do we need Op- amp with more GBP?

## Slide 3: Point 5 Output Impedance
Maximum Op-amp load current will be 20 mA, leading temperature rise 23 degrees above ambient.

## Slide 4: Point 13 ADC
Do we need higher sample rate ADC ?