## Slide 1: Voltage Levels on Preamp
Stephen Kaye

## Slide 2: Differential Amplifier Circuit

## Slide 3: Full Well Signal

## Slide 4: Full Well
Differential output voltage: -7.69 V
Common Mode voltage: -1.93 V
Positive output: -4.8 V
Negative Output: 2.88 V

## Slide 5: Half of Full Well

## Slide 6: Half Full Well
Differential output voltage: -4.39 V
Common Mode voltage: -1.1 V
Positive output: -2.75 V
Negative Output: 1.65 V