## Slide 1: ZTF cryostat readiness review
Shawn Callahan
12/14/2014

## Slide 2: readiness
synonyms: | willingness, enthusiasm, eagerness, keenness; More
synonyms: | preparedness, preparation More
read·i·ness
ˈredēnəs/
noun
1.
willingness to do something.
"Spain had indicated a readiness to accept his terms“
2.
the state of being fully prepared for something.
"your muscles tense in readiness for action"

## Slide 3: Exploded cross-section

## Slide 4: Cryostat section view

## Slide 5: Cryostat walls
Material: 304 Stainless Steel
Minimum wall thickness: 7mm
Thickness at corners: 12mm to allow tapped holes for cover latches

## Slide 6: O-ring specification
Use Parker 3/32” [2.63mm] for both the window and VIB interface

## Slide 7: Parker O-ring recommendations

## Slide 8: Window temperature regulator (shown in green) Relief gland 3mm deep

## Slide 9: Bipod flanges M4 S.H.C.S.

## Slide 10
TO-220 power resistors Rating ~10W each
Steve: select bimetallic thermostat ! Will it fit?
Each pocket to also contain threaded holes for temperature sensors

## Slide 11: Cut-out in cryostat walls for guide cameras

## Slide 12: Inside recess for radiation shield mounting lattice (shown in blue) MLI is available as a “user option”

## Slide 13: Spring loaded cover latch assembly is removable

## Slide 14: Scatter light
Option A:“stair step” grooves on outside of walls (not shown).
Option B: Protostar flocked light trap material.
Combination of both methods.

## Slide 15: FEA Model to determine component stress See: cryostat pressure model 121214

## Slide 16: Check stress in cryostat due to atmospheric pressure

## Slide 17: Window Heater Stress G-10 3mm thick

## Slide 18: Von-Mises stress in heater Maximum 6400 psi Strength Min. 38,000. (FOS ~6)

## Slide 19: G-10: Tensile strength 38,000 psi Compressive strength: 65,000 psi

## Slide 20: Cryostat Wall Stress 7mm minimum wall thickness 304 Stainless Steel

## Slide 21: Von Mises stress in Cryostat walls <9600 psi Strength 304 Stainless Steel: 47,900psi (FOS =5)

## Slide 22: 304 Stainless Steel

## Slide 23: Window Stress

## Slide 24: 11/7/2014 Analysis of Window stress
Increase window size by 6mm to accommodate 3mm spacing between CCD’s.
Change gasket to G10 so that a heating circuit can be embedded.

## Slide 25: Apply 1 atmosphere 14.7 psi to top surface inside O-ring (pressure inside surface)
Frictional contacts between window and gasket and gasket and cryostat enclosure. COF=0.2 to solve quickly and allow surfaces to open and close.
Elastic supports added to window solve.

## Slide 26: Boundary conditions

## Slide 27: Maximum Principal stress in window. 9.7MPa

## Slide 28: Determine factor of safety vs. probability of success
Use MathCad model: Design Strength-Fused Silica.

## Slide 29: Strength of Fused Silica Window vs. Probability of success. (95% probability of success shown by markers)

## Slide 30: Factor of safety at 9.9MPa vs probability of success. Markers show 95% probability of success has a FOS=4.4

## Slide 31: Another way to look at this is to calcuate the probability of success at 9.9MPa.
The probability of survival can be calculated at 9.7MPa using the above MathCad model: 1 part in 5 x 10E7.