## Slide 1: ZTF CCD & Flattener Package
Andrew Lambert
04/17/2014

## Slide 2: Thermal-Structural Analysis
Heat Loads
  0.055 W at flex cable connections (0.11 W, but divided by 2 due to symmetry)
  0.02 W at CCD corners
  Radiation from ambient
    Setup through 3 radiation BC’s
      Contact lens to ambient
      Contact lens to CCD
      CCD to contact lens

## Slide 3: Temperature
Stainless
Steel
Titanium

## Slide 4: Total Deformation
Stainless
Steel
Titanium

## Slide 5: Frame Deform in X
Stainless
Steel
Titanium

## Slide 6: Frame Deform in Y
Stainless
Steel
Titanium

## Slide 7: Frame Deform in Z
Stainless
Steel
Titanium

## Slide 8: Frame Stress
Stainless
Steel
Titanium

## Slide 9: Glass Deform in X
Stainless
Steel
Titanium

## Slide 10: Glass Deform in Y
Stainless
Steel
Titanium

## Slide 11: Glass Deform in Z
Stainless
Steel
Titanium

## Slide 12: Glass Stress
Stainless
Steel
Titanium

## Slide 13: Conclusions
Both stainless steel (SS) and titanium (Ti) perform very well with this frame configuration
  Glass temperature is lower with stainless steel
    Max stress is low for both cases, 1-1.3 MPa
    Glass deflection is small (3.8 microns max normal to surface (SS))
  Frame stress is well below yield for both materials
Frame temperature gradient does cause some slight warping which is responsible for the 3.0 micron deflection of the glass (z-direction). This is very small though and does not seem problematic to me.