- ADC’s are 16 bit serial type with low voltage differential interface.

- USB interface circuit on piggy-back or dongle type.

- One can add more cards of each type depending on need.

- Fast link between two FGPA cards.

- Feed-through caps can be on connector or inside Dewar.

- Power supply scheme to be chalked out.

7) Blocks marked in RED are out side the card

Pre-Amp

1

Pre-Amp

2

Pre-Amp

4

CDS- 4

Pre-Amp

3

CDS- 3

CDS- 2

CDS- 1

ADC-1

ADC-2

ADC-3

ADC-4

LVDS Interface

To

FPGA

USB to Fiber Interface

Fiber to USB interface

Level Translators

Serial

DACs

Virtex-5

F   P  G  A

Clock Drivers

Power Supply

USB Controller

Command In

Command Out

MEMORY

LVDS    Interface to Serial ADCs

SIDECAR ASIC

LVDS / CMOS

Interface

From

Virtex-5 fpga

To Virtex-5 fpga

Data Acquisition

Module

Sequencer / Scheduler

Module

Host

PC

USB 2.0 cable